## Sheet1
Description | Commodity Type | Part Number | Installed Qty | MFG Part Number | Customer Serviceable
Xeon Platinum 8360H 24C/3.0GHz/225W CPU | PROCESSORS - SP | 02JK763 | 4 | SSA7A78211, SSA7A78211, SSA7A78211, SSA7A78211 | 9 (FRU)
ThinkSystem RAID 940-16i 4GB Flash PCIe Gen4 12Gb Adapter | ADAPTERS - RAID_CARD | 03GX464 | 1 | SR17A98374 | -
ThinkSystem Mellanox ConnectX-6 Lx 10/25GbE SFP28 2-port PCIe Ethernet Adapter | ADAPTERS - NETWRK_CRD | 02YG184 | 1 | SN37A28487 | 2 (T2 CRU)
ThinkSystem Mellanox ConnectX-6 Lx 10/25GbE SFP28 2-port OCP Ethernet Adapter | ADAPTERS - CARDPOP | 02YG185 | 1 | SN37A28493 | 2 (T2 CRU)
ThinkSystem 2U CMA for Toolless Slide Rail | MECHANICAL ASSEMBLY - MECH_ASM | 01GV202 | 1 | SM17A18043 | 0 (C)
ThinkSystem 2U 8x2.5" SAS/SATA Backplane | ADAPTERS - CARDPOP | 02YE087 | 1 | SC57A26298 | 1 (T1 CRU)
ThinkSystem 2.5" U.2 PM9A3 960GB Read Intensive NVMe PCIe 4.0 x4 HS SSD | DRIVES AND STORAGE - SSD_ASM | 03LD989 | 1 | SSD7B72102 | -
System Board, Cooper Lake with coin battery | SYSTEM BOARDS - BDPLANAR | 03GY151 | 1 | SB27A74924 | 9 (FRU)
SuperCap, RAID 930 940, 7.6F, ThinkSystem Super Capacitor Module | CAPACITORS | 01KN513 | 1 | SC57A04602 | 1 (T1 CRU)
SR850 V2 Power Paddle Board | ELECTRONIC CARDS | 02YG200 | 1 | SM17A65310 | 1 (T1 CRU)
Sliver to HDD BP,Sliver-MICO,530mm | CABLES | 02JJ675 | 1 | SC17A79304 | 1 (T1 CRU)
Sliver to HDD BP,Sliver-MICO,530mm | CABLES | 02JJ674 | 1 | SC17A79307 | 1 (T1 CRU)
SERVICE LABEL | LABELS | 02JJ814 | 1 | SL17A71373 | 1 (T1 CRU)
Screw, Phillips #1, M3x5, black | MECHANICAL - SCREW | 42C3933 | 6 | 33G3907, 33G3907, 33G3907, 33G3907, 33G3907, 33G3907 | -
RISER SIGNAL (EXAMAX) cable | CABLES | 02JJ688 | 1 | SC17A80729 | 1 (T1 CRU)
Riser Card, PCIE, x16/x16/x16 2U Riser Z | ADAPTERS - CARDPOP | 02JK528 | 1 | SC57A85266 | 2 (T2 CRU)
Riser Card, PCIE, x16/x16, Riser S | ADAPTERS - CARDPOP | 02YG201 | 1 | SC57A85267 | 2 (T2 CRU)
RAID-HDD BP,SLSAS to SLSAS,860mm | CABLES | 02JJ661 | 1 | SC17A78235 | 1 (T1 CRU)
RAID-HDD BP SLSAS to SLSAS,665mm | CABLES | 02JJ670 | 1 | SC17A78244 | 1 (T1 CRU)
RACK FASTENERS | MECHANICAL PART | 46M6205 | 2 | 12J5289, 12J5289 | -
PPB siganal,170mm | CABLES | 02JJ638 | 1 | SC17A78232 | 1 (T1 CRU)
Power Supply Delta 2400W 230Vac AC Hot Swap | POWER AND COOLING - PWR_SUPPLY | 03LC247 | 2 | SP57B74107, SP57B74107 | -
PCI SUPERCAP HOLDER | MECHANICAL ASSEMBLY - MECH_ASM | 02JJ808 | 1 | SM17A71212 | 1 (T1 CRU)
PCI RISER BRACKET ANYBAY | MECHANICAL ASSEMBLY - MECH_ASM | 02JJ811 | 2 | SM17A71210, SM17A71210 | 1 (T1 CRU)
OCP BAFFLE | MECHANICAL - BRACKET | 02JJ159 | 1 | SM27A71000 | -
Misc Screw Kit | MECHANICAL - SCREW | 00MU210 | 16 | 92F1294, 92F1294, 92F1294, 92F1294, 92F1294, 92F1294, 92F1294, 92F1294, 92F1294, 92F1294, 92F1294, 92F1294, 92F1294, 92F1294, 92F1294, 92F1294 | 1 (T1 CRU)
MISC KIT | MECHANICAL PART | 00KF419 | 16 | 39J3936, 39J3936, 59Y4836, 59Y4836, 59Y4836, 59Y4836, 59Y4836, 59Y4836, 59Y4836, 59Y4836, 59Y4836, 59Y4836, 59Y4836, 59Y4836, 59Y4836, 59Y4836 | -
Mechanical Assemble 2U RAIL KIT | MECHANICAL ASSEMBLY - MECH_ASM | 02JJ805 | 1 | SM17A71173 | 1 (T1 CRU)
M/B-riser card slimline,200mm | CABLES | 02JJ631 | 1 | SC17A69976 | 2 (T2 CRU)
M/B to riser card SLSAS R/A,200mm | CABLES | 02JJ630 | 1 | SC17A69975 | 2 (T2 CRU)
M/B to HDD BP power,155mm | CABLES | 02JJ633 | 1 | SC17A69978 | 2 (T2 CRU)
LGA4189 1U 4x Heatpipes Performance Heatsink W/Grease | POWER AND COOLING - HEATSINK | 02YE597 | 4 | SH47A41767, SH47A41767, SH47A41767, SH47A41767 | 9 (FRU)
Gen4 2.5HDD HS Tray with Dummy | MECHANICAL ASSEMBLY - MECH_ASM | 01PE059 | 1 | SM17A06246 | -
GEN4 2.5" 8X1 HDD | MECHANICAL PART | 00WF662 | 1 | SM17A06249 | 1 (T1 CRU)
Fibre Channel, Emulex LPe35002, PCIe, 32GB, 2 port | ADAPTERS - NETWRK_CRD | 03GX429 | 2 | SN37A97762, SN37A97762 | 9 (FRU)
FAN, SR850 V3 FAN MODULE | POWER AND COOLING - FAN | 02JJ807 | 6 | SM17A71209, SM17A71209, SM17A71209, SM17A71209, SM17A71209, SM17A71209 | 1 (T1 CRU)
FAN CAGE ASM | MECHANICAL ASSEMBLY - MECH_ASM | 02JJ817 | 1 | SM17A71215 | 1 (T1 CRU)
CPU Board, Cooper Lake without coin battery | SYSTEM BOARDS - BDPLANAR | 03GY152 | 1 | SB27A74925 | 9 (FRU)
CPU BAFFLE | MECHANICAL - BRACKET | 02JJ158 | 1 | SB47A62239 | -
CHASSIS, 2U, 24X2.5 CHASSIS | CHASSIS | 02JJ820 | 1 | SC87A71165 | 9 (FRU)
Cable, Internal, PICO-CLASP, 1X9 P ST to MICRO-FIT, 2X4 P ST 28 AWG L=330 mm | CABLES | 01GW932 | 1 | SC17A12065 | 1 (T1 CRU)
Backplane, SAS/SATA/NVMe, 2.5", 8Bay, front, any bay | ADAPTERS - CARDPOP | 02YE088 | 1 | SC57A26274 | 2 (T2 CRU)
64GB TruDDR4 3200 MHz (2Rx4 1.2V) RDIMM | MEMORY - MEMORY | 02JK971 | 32 | SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847, SM37A85847 | 2 (T2 CRU)
4U MS PCIe Filler | MECHANICAL PART | 01KP742 | 6 | SM27A15372, SM27A15372, SM27A15372, SM27A15372, SM27A15372, SM27A15372 | 0 (C)
4P Air duct | MECHANICAL PART | 02JJ806 | 1 | SM27A71337 | 1 (T1 CRU)
2U , TOP COVER | MECHANICAL ASSEMBLY - MECH_ASM | 02JJ816 | 1 | SM17A71222 | 1 (T1 CRU)
25Gb Ethernet SFP28 Optic/Transceiver Gen 2, Broadcom PN: AFBR-734SMZ-LV1 | TRANSCEIVERS | 02JH718 | 4 | SM27A76521, SM27A76521, SM27A76521, SM27A76521 | -
2.5" 1X1 HDD FILLER ASM | MECHANICAL PART | 00WF660 | 1 | SM17A06247 | 1 (T1 CRU)
1U/2U ThinkSystem Nameplate | MECHANICAL ASSEMBLY - MECH_ASM | 01KP623 | 1 | SM17A02062 | 1 (T1 CRU)